**Addendum #** 1

**Date:** September 12, 2023

**To:** All bidders

**From:** Louis Joseph, Buyer

**Solicitation Number:** ITB# CDS/220807

**Solicitation Title:**

Residential Rehab at 3159 SE 3rd Street, Ocala, FL, 34471 - Lynn

**SOLICITATION ADDITIONS, CLARIFICATIONS AND CORRECTIONS**

**NOTE: ALL Installations or replacements must include new products or materials.**

**ITEM 1-EXTERIOR REPAIRS**

1. Remove concrete driveway at the front porch approximately 11’8’’x11’4’’ or to first control joint. When reinstalling concrete, the driveway shall be sloped up to the top of front porch.

**ITEM 5-HALL BATH-ADD/REPLACE**

1. Replace the exhaust fan with exhaust through-out the roof.
2. The bathroom must have a roll-in shower.

**ITEM 6-MASTER BATH**

1. The Master Bath exhaust fan will connect to the exhaust fan through-out the roof.